## Welcome !
Welcome to
Taqman2Results
© Federico Canzian, Tim Albion & Stéphanie Monnier 2004
Version 1.1
Before transferring your data in your results file,
read the comparison of the two plates, in the Temp sheet. If there are discrepancies,
choose one reading in order to have only ONE result in your results file
At the end of the data transfer, you will have the possibility
to analyze your Quality Control data.
Please make sure that you have added
"Qc_" on quality control samples in the QC plates
BEFORE anything!
Instructions
Choose your Plate File 1 (Single or Batch)
Choose your Plate File 2 (Single or Batch)
Choose your ResultsFile
Data Transfer
TaqMan To Results
Nucleotide Translation

## Read Me
TaqManToResults
Instructions
This macro allows you to transfer your data from output TaqMan files into your results file.
This macro also offers the possibility, if you want, to compare the Taqman data for a batch of plates, read by two different operators.
If you choose to read a batch of files, from two different users,
you have to create two different folders, containing TaqMan files read by each user, for the same batch of samples.
Then the macro will ask you for the two folders.
Notice that the macro will process all files contained in folders.
Make sure you have only plate files you want to be processed by the macro.
Its use is very easy :
Open the two plate files (first and second reading) :
You have to select the folder containing the first batch of TaqMan output files (i.e., read by the first operator)
You have to select the folder containing the second batch of TaqMan output files (i.e., read by the second operator)
Make sure that the format requirements are met.
Here is an example of a properly formatted file:
Input_Reader1
Note that the whole marker name should be composed by the marker name (no special format for this) followed by the two alleles.
Only one letter is authorized per allele.
The two last letters will be interpreted by the macro as the alleles.
If you have to genotype insertion or deletion, please use the "I" or "D" letters.
When you define the detectors in SDS,
please make sure that the last character corresponds to one of the alleles.
(the same letters as the ones chosen in the marker name).
Next, open your results file.
An example of properly formatted results file is available here:
Example Results
Once you have selected the TaqMan Files and you results files,
push the button "Data Transfer".
If you've chosen the double reading,
check for discrepancies, in the column "Consensus", that may exist between the two readings and correct them.
To save time, you can press the button "Solve discrepancies" .
This will replace all of them by a "-" character, meaning undetermined genotype.
Once you have resolved all discrepancies, push the button "TaqManTo Results".
If the marker name is not in the results file, the macro will add it for you.
If you add some results for a previously processed marker,
the macro will add new results to the corresponding samples, in the proper column.
At the end of the transfer, you will be prompted to do the Quality Control analysis.
If you choose "Yes", make sure you have added the "Qc_" to the sample names beforehand.
The macro will know that samples whose name starts with "Qc_" are quality control samples,
and it will compare the genotype found for the sample and the genotype found for its control.
Any discrepancies will be recorded in the "Quality Control Report File", a text file created during the analysis.
Finally, you can translate the genotypes, recorded in the results file in nucleotides "A", "T", "C", "G"
into numbers "1", "2", "3", "4".
The translation will be recorded in a new worksheet "Translation", added during the process in your results file.
Compatibility
This macro has been found to work with Excel 97 and 2000 under various flavors
of Windows (English versions) and with Excel 98 of MacOS 9 and Excel X of MacOS X (English versions).
The author takes no responsibility for malfunctioning on other versions of Excel and/or other OSs.
Contacts
Federico Canzian
Stéphanie Monnier
Back

## Input_ Reader1
SDS 2.1 | AD Results | 1
Filename | plate EGA 011 SD 28R.sds
PlateID | EGA0110625
Assay Type | Allelic Discrimination
Run DateTime | 1.12.2004 15:37
Operator
Sample Information
Well | Sample Name | Marker Name | Allele X Rn | Allele Y Rn | Call | Quality Value | Call Type | Task | Passive Ref
1 | 72524917 | D28235.5209-TG | 0.60988 | 1.6452 | D28235.5209T | 100 | Manual | Unknown | 751.8816
2 | 52599260 | D28235.5209-TG | 1.306 | 1.7956 | Both | 100 | Manual | Unknown | 758.2848
3 | 51245630 | D28235.5209-TG | 0.64102 | 2.4226 | D28235.5209T | 100 | Manual | Unknown | 748.478
4 | 61090237 | D28235.5209-TG | 0.60271 | 2.363 | D28235.5209T | 100 | Manual | Unknown | 738.2897
5 | 61112874 | D28235.5209-TG | 0.64573 | 2.3387 | D28235.5209T | 100 | Manual | Unknown | 776.4002
6 | 41184101 | D28235.5209-TG | 0.68022 | 2.4564 | D28235.5209T | 100 | Manual | Unknown | 814.0498
7 | 22311900 | D28235.5209-TG | 0.69057 | 2.229 | D28235.5209T | 100 | Manual | Unknown | 975.3829
8 | 24679869 | D28235.5209-TG | 0.67194 | 2.4191 | D28235.5209T | 100 | Manual | Unknown | 954.5143
9 | 72541050 | D28235.5209-TG | 0.68057 | 2.3868 | D28235.5209T | 100 | Manual | Unknown | 978.7158
10 | 61164158 | D28235.5209-TG | 0.67691 | 2.2823 | D28235.5209T | 100 | Manual | Unknown | 993.2296
11 | 51262140 | D28235.5209-TG | 0.69314 | 2.2601 | D28235.5209T | 100 | Manual | Unknown | 1084.5939
12 | NTC | D28235.5209-TG | 0.60569 | 0.84656 | NTC |  | Manual | NTC | 1369.3849
13 | 72526102 | D28235.5209-TG | 0.6426 | 2.403 | D28235.5209T | 100 | Manual | Unknown | 1290.3566
14 | 52599460 | D28235.5209-TG | 0.71324 | 2.7293 | D28235.5209T | 100 | Manual | Unknown | 1296.0095
15 | Qc_51247550 | D28235.5209-TG | 0.89267 | 2.5935 | D28235.5209T | 100 | Manual | Unknown | 1463.4194
16 | 61090531 | D28235.5209-TG | 1.4385 | 2.1996 | Both | 100 | Manual | Unknown | 1429.958
17 | 61113711 | D28235.5209-TG | 0.66966 | 2.558 | D28235.5209T | 100 | Manual | Unknown | 1383.3431
18 | 41183497 | D28235.5209-TG | 0.69522 | 2.5698 | D28235.5209T | 100 | Manual | Unknown | 1509.0962
19 | 22311955 | D28235.5209-TG | 0.71046 | 2.564 | D28235.5209T | 100 | Manual | Unknown | 1649.8376
20 | 24680400 | D28235.5209-TG | 1.3167 | 1.8992 | Both | 100 | Manual | Unknown | 1630.8923
21 | 72541336 | D28235.5209-TG | 0.75606 | 2.5905 | D28235.5209T | 100 | Manual | Unknown | 1709.6478
22 | 11101729 | D28235.5209-TG | 0.74 | 2.7851 | D28235.5209T | 100 | Manual | Unknown | 1767.1853
23 | 51263600 | D28235.5209-TG | 1.2655 | 1.7619 | Both | 100 | Manual | Unknown | 1977.7324
24 | NTC | D28235.5209-TG | 0.70948 | 0.86922 | NTC |  | Manual | NTC | 1967.1741
25 | 72526246 | D28235.5209-TG | 1.3858 | 1.9823 | Both | 100 | Manual | Unknown | 999.1099
26 | 51221600 | D28235.5209-TG | 0.67106 | 2.8498 | D28235.5209T | 100 | Manual | Unknown | 1010.6146
27 | 51248700 | D28235.5209-TG | 0.66071 | 2.8342 | D28235.5209T | 100 | Manual | Unknown | 1026.6453
28 | 61092155 | D28235.5209-TG | 0.69867 | 2.8237 | D28235.5209T | 100 | Manual | Unknown | 1053.8639
29 | 61114505 | D28235.5209-TG | 0.66495 | 2.5844 | D28235.5209T | 100 | Manual | Unknown | 1138.8099
30 | 41179028 | D28235.5209-TG | 1.271 | 2.0388 | Both | 100 | Manual | Unknown | 1210.2932
31 | 24677889 | D28235.5209-TG | 0.67246 | 2.1369 | D28235.5209T | 100 | Manual | Unknown | 1212.8281
32 | 24680651 | D28235.5209-TG | 0.6798 | 2.645 | D28235.5209T | 100 | Manual | Unknown | 1285.731
33 | 72542906 | D28235.5209-TG | 1.3574 | 2.1754 | Both | 100 | Manual | Unknown | 1406.3556
34 | 11111941 | D28235.5209-TG | 1.6092 | 2.2402 | Both | 100 | Manual | Unknown | 1437.7267
35 | 51266130 | D28235.5209-TG | 0.72563 | 2.7529 | D28235.5209T | 100 | Manual | Unknown | 1507.5383
36 | NTC | D28235.5209-TG | 0.6801 | 0.88482 | NTC |  | Manual | NTC | 1585.5719
37 | 72528566 | D28235.5209-TG | 1.6743 | 1.4939 | D28235.5209G | 100 | Manual | Unknown | 1217.2073
38 | 51222420 | D28235.5209-TG | 0.70198 | 2.7305 | D28235.5209T | 100 | Manual | Unknown | 1292.1648
39 | 51248840 | D28235.5209-TG | 0.71736 | 2.6949 | D28235.5209T | 100 | Manual | Unknown | 1234.4548
40 | 61107291 | D28235.5209-TG | 0.72849 | 2.5563 | D28235.5209T | 100 | Manual | Unknown | 1445.6418
41 | 61114587 | D28235.5209-TG | 1.3391 | 1.9391 | Both | 100 | Manual | Unknown | 1480.9995
42 | 41179895 | D28235.5209-TG | 1.326 | 1.8955 | Both | 100 | Manual | Unknown | 1483.4954
43 | 24677978 | D28235.5209-TG | 0.73481 | 2.3753 | D28235.5209T | 100 | Manual | Unknown | 1580.6243
44 | 24681169 | D28235.5209-TG | 0.7878 | 2.3752 | D28235.5209T | 100 | Manual | Unknown | 1544.0447
45 | 72546948 | D28235.5209-TG | 0.74142 | 2.3961 | D28235.5209T | 100 | Manual | Unknown | 1735.7344
46 | 11112324 | D28235.5209-TG | 1.6593 | 1.5653 | D28235.5209G | 100 | Manual | Unknown | 1715.0382
47 | 41202233 | D28235.5209-TG | 0.76071 | 2.6956 | D28235.5209T | 100 | Manual | Unknown | 1906.5046
48 | NTC | D28235.5209-TG | 0.64027 | 0.86201 | NTC |  | Manual | NTC | 1862.3606
49 | 72529243 | D28235.5209-TG | 0.67158 | 2.5256 | D28235.5209T | 100 | Manual | Unknown | 1058.8286
50 | 51222700 | D28235.5209-TG | 0.76134 | 2.8323 | D28235.5209T | 100 | Manual | Unknown | 982.9674
51 | 51251320 | D28235.5209-TG | 0.75169 | 2.6423 | D28235.5209T | 100 | Manual | Unknown | 1039.501
52 | 61107997 | D28235.5209-TG | 0.69791 | 2.6008 | D28235.5209T | 100 | Manual | Unknown | 1095.5114
53 | 61115095 | D28235.5209-TG | 1.2932 | 1.923 | Both | 100 | Manual | Unknown | 1184.9143
54 | 41201350 | D28235.5209-TG | 0.73641 | 2.3487 | D28235.5209T | 100 | Manual | Unknown | 1078.383
55 | 24678173 | D28235.5209-TG | 1.291 | 1.8197 | Both | 100 | Manual | Unknown | 1351.7705
56 | 51252190 | D28235.5209-TG | 0.80585 | 2.1996 | D28235.5209T | 100 | Manual | Unknown | 1318.133
57 | 61161464 | D28235.5209-TG | 1.1018 | 1.5642 | Both | 100 | Manual | Unknown | 1319.6708
58 | 11112593 | D28235.5209-TG | 0.74215 | 2.4401 | D28235.5209T | 100 | Manual | Unknown | 1445.4451
59 | 41195546 | D28235.5209-TG | 0.77496 | 2.5873 | D28235.5209T | 100 | Manual | Unknown | 1677.9373
61 | 72530464 | D28235.5209-TG | 0.72741 | 2.5273 | D28235.5209T | 100 | Manual | Unknown | 1157.0365
62 | 51223240 | D28235.5209-TG | 1.514 | 2.105 | Both | 100 | Manual | Unknown | 1234.1404
63 | 51251380 | D28235.5209-TG | 1.5112 | 2.1661 | Both | 100 | Manual | Unknown | 1266.38
64 | 61108030 | D28235.5209-TG | 1.3755 | 2.1904 | Both | 100 | Manual | Unknown | 1300.5403
65 | 41182649 | D28235.5209-TG | 0.72645 | 2.4508 | D28235.5209T | 100 | Manual | Unknown | 1359.8656
66 | 41187742 | D28235.5209-TG | 0.73526 | 2.3013 | D28235.5209T | 100 | Manual | Unknown | 1307.7012
67 | 24678182 | D28235.5209-TG | 1.2509 | 1.7792 | Both | 100 | Manual | Unknown | 1502.8413
68 | 51254050 | D28235.5209-TG | 0.72577 | 2.1461 | D28235.5209T | 100 | Manual | Unknown | 1543.7949
69 | 61162203 | D28235.5209-TG | 0.72738 | 1.8246 | D28235.5209T | 100 | Manual | Unknown | 1582.5775
70 | 11112600 | D28235.5209-TG | 0.7345 | 2.4576 | D28235.5209T | 100 | Manual | Unknown | 1579.2421
71 | 41195653 | D28235.5209-TG | 1.4782 | 2.0912 | Both | 100 | Manual | Unknown | 1742.8293
73 | 52597160 | D28235.5209-TG | 1.3955 | 1.8927 | Both | 100 | Manual | Unknown | 845.6
74 | 51224070 | D28235.5209-TG | 1.5511 | 2.1472 | Both | 100 | Manual | Unknown | 830.0306
75 | 61088848 | D28235.5209-TG | 0.78243 | 2.7462 | D28235.5209T | 100 | Manual | Unknown | 849.6089
76 | 61111713 | D28235.5209-TG | 0.73926 | 2.5109 | D28235.5209T | 100 | Manual | Unknown | 917.4742
77 | 41179242 | D28235.5209-TG | 1.4382 | 1.3548 | D28235.5209G | 100 | Manual | Unknown | 964.1833
78 | 22293314 | D28235.5209-TG | 1.278 | 1.5922 | Both | 100 | Manual | Unknown | 984.8867
79 | 24678771 | D28235.5209-TG | 0.71605 | 2.139 | D28235.5209T | 100 | Manual | Unknown | 1035.8208
80 | 51254570 | D28235.5209-TG | 0.70124 | 2.1743 | D28235.5209T | 100 | Manual | Unknown | 1075.2202
81 | 61162892 | D28235.5209-TG | 0.73056 | 2.3128 | D28235.5209T | 100 | Manual | Unknown | 1119.1357
82 | 51261640 | D28235.5209-TG | 0.77089 | 2.4033 | D28235.5209T | 100 | Manual | Unknown | 1234.2306
83 | 41244037 | D28235.5209-TG | 1.4127 | 2.0487 | Both | 100 | Manual | Unknown | 1313.1814
85 | 52597490 | D28235.5209-TG | 0.73991 | 2.0689 | D28235.5209T | 100 | Manual | Unknown | 879.8054
86 | 51244900 | D28235.5209-TG | 0.73886 | 2.4406 | D28235.5209T | 100 | Manual | Unknown | 900.2794
87 | 61089150 | D28235.5209-TG | 0.59355 | 2.6212 | D28235.5209T | 100 | Manual | Unknown | 935.2838
88 | 61112463 | D28235.5209-TG | 0.67821 | 2.4213 | D28235.5209T | 100 | Manual | Unknown | 1023.2814
89 | 41184423 | D28235.5209-TG | 0.65203 | 2.0828 | D28235.5209T | 100 | Manual | Unknown | 1104.5288
90 | 22293369 | D28235.5209-TG | 0.69499 | 2.1548 | D28235.5209T | 100 | Manual | Unknown | 1103.4136
91 | 24679618 | D28235.5209-TG | 0.66411 | 2.1274 | D28235.5209T | 100 | Manual | Unknown | 1108.8528
92 | 72541005 | D28235.5209-TG | 0.80483 | 2.0994 | D28235.5209T | 100 | Manual | Unknown | 1174.7122
93 | 61163935 | D28235.5209-TG | 1.4975 | 1.3739 | D28235.5209G | 100 | Manual | Unknown | 1150.1617
94 | 51261770 | D28235.5209-TG | 0.72354 | 2.199 | D28235.5209T | 100 | Manual | Unknown | 1316.654
95 | 41235029 | D28235.5209-TG | 0.67768 | 2.1005 | D28235.5209T | 100 | Manual | Unknown | 1441.3083
Note on B3: The Wizard says: The plate ID must have the same value as the one in your Results file!
Note on B24: The Wizard says: Quality Control sample names should start with "Qc_"
Note on C10: The Wizard says: Make sure you have added the two alleles, after the marker name. The two last letters will be interpreted by the macro as the alleles.
Note on F10: The Wizard says: When you define the detectors in SDS, please make sure that the last character corresponds to one of the alleles (the same letters as the ones chosen in the marker name).

## Input results
MyStudy | Plate | Row | Column | D28235.5209-TG | SNP002-AG | SNP003-TC
MyStudy | - | - | - | T/G | A/G | T/C
24600915 | EGA001 | A | 1
21008259 | EGA001 | A | 2
41008284 | EGA001 | A | 3
52500700 | EGA001 | A | 4
52508700 | EGA001 | A | 5
42404740 | EGA001 | A | 6
24609550 | EGA001 | A | 7
24611323 | EGA001 | A | 8
52520520 | EGA001 | A | 9
23407869 | EGA001 | A | 10
31008687 | EGA001 | A | 11 |  |  |  | Back
24601281 | EGA001 | B | 1
41000415 | EGA001 | B | 2
41012859 | EGA001 | B | 3
52501330 | EGA001 | B | 4
52510380 | EGA001 | B | 5
41024739 | EGA001 | B | 6
24609710 | EGA001 | B | 7
24611583 | EGA001 | B | 8
52521200 | EGA001 | B | 9
22201725 | EGA001 | B | 10
31009328 | EGA001 | B | 11
24601503 | EGA001 | C | 1
41000424 | EGA001 | C | 2
41012162 | EGA001 | C | 3
52501500 | EGA001 | C | 4
52512500 | EGA001 | C | 5
41024695 | EGA001 | C | 6
24609989 | EGA001 | C | 7
23402999 | EGA001 | C | 8
52522860 | EGA001 | C | 9
22203152 | EGA001 | C | 10
31009300 | EGA001 | C | 11
24601825 | EGA001 | D | 1
41006080 | EGA001 | D | 2
41015123 | EGA001 | D | 3
52501920 | EGA001 | D | 4
52512670 | EGA001 | D | 5
41024702 | EGA001 | D | 6
24610002 | EGA001 | D | 7
23403238 | EGA001 | D | 8
52523620 | EGA001 | D | 9
22201930 | EGA001 | D | 10
31014670 | EGA001 | D | 11
24601914 | EGA001 | E | 1
41004617 | EGA001 | E | 2
51103970 | EGA001 | E | 3
52503860 | EGA001 | E | 4
52513420 | EGA001 | E | 5
41024015 | EGA001 | E | 6
26610011 | EGA001 | E | 7
23403265 | EGA001 | E | 8
52525680 | EGA001 | E | 9
22202000 | EGA001 | E | 10
31014812 | EGA001 | E | 11
21006957 | EGA001 | F | 1
41008426 | EGA001 | F | 2
51108000 | EGA001 | F | 3
52505990 | EGA001 | F | 4
42403820 | EGA001 | F | 5
41024140 | EGA001 | F | 6
24610904 | EGA001 | F | 7
23403934 | EGA001 | F | 8
52531430 | EGA001 | F | 9
22206935 | EGA001 | F | 10
31015642 | EGA001 | F | 11
21007269 | EGA001 | G | 1
41008551 | EGA001 | G | 2
52500740 | EGA001 | G | 3
52507910 | EGA001 | G | 4
42402180 | EGA001 | G | 5
41023883 | EGA001 | G | 6
24611010 | EGA001 | G | 7
23404022 | EGA001 | G | 8
23405245 | EGA001 | G | 9
31007286 | EGA001 | G | 10
31015795 | EGA001 | G | 11
21008017 | EGA001 | H | 1
41008560 | EGA001 | H | 2
52500720 | EGA001 | H | 3
52508220 | EGA001 | H | 4
42404000 | EGA001 | H | 5
21009481 | EGA001 | H | 6
24611216 | EGA001 | H | 7
23404059 | EGA001 | H | 8
23405263 | EGA001 | H | 9
31008669 | EGA001 | H | 10
31016150 | EGA001 | H | 11
31016329 | EGA002 | A | 1
34600889 | EGA002 | A | 2
34601959 | EGA002 | A | 3
34603279 | EGA002 | A | 4
34606981 | EGA002 | A | 5
34618629 | EGA002 | A | 6
34627664 | EGA002 | A | 7
34651762 | EGA002 | A | 8
22227298 | EGA002 | A | 9
21017525 | EGA002 | A | 10
21026908 | EGA002 | A | 11
31016490 | EGA002 | B | 1
34601011 | EGA002 | B | 2
34602065 | EGA002 | B | 3
34603920 | EGA002 | B | 4
34606990 | EGA002 | B | 5
34619155 | EGA002 | B | 6
34628485 | EGA002 | B | 7
34651879 | EGA002 | B | 8
21016517 | EGA002 | B | 9
21017918 | EGA002 | B | 10
21028362 | EGA002 | B | 11
31016641 | EGA002 | C | 1
34601119 | EGA002 | C | 2
34602930 | EGA002 | C | 3
34604072 | EGA002 | C | 4
34607284 | EGA002 | C | 5
34619977 | EGA002 | C | 6
34649686 | EGA002 | C | 7
34652510 | EGA002 | C | 8
21016740 | EGA002 | C | 9
21018202 | EGA002 | C | 10
21028755 | EGA002 | C | 11
31016874 | EGA002 | D | 1
34601440 | EGA002 | D | 2
34602967 | EGA002 | D | 3
34604796 | EGA002 | D | 4
34612545 | EGA002 | D | 5
34620474 | EGA002 | D | 6
34649882 | EGA002 | D | 7
34652618 | EGA002 | D | 8
21016759 | EGA002 | D | 9
21018462 | EGA002 | D | 10
21028835 | EGA002 | D | 11
31016865 | EGA002 | E | 1
34601511 | EGA002 | E | 2
34602903 | EGA002 | E | 3
34605982 | EGA002 | E | 4
34612732 | EGA002 | E | 5
34620787 | EGA002 | E | 6
34649819 | EGA002 | E | 7
22231167 | EGA002 | E | 8
21016857 | EGA002 | E | 9
21018524 | EGA002 | E | 10
21029414 | EGA002 | E | 11
34600629 | EGA002 | F | 1
34601655 | EGA002 | F | 2
34603108 | EGA002 | F | 3
34606310 | EGA002 | F | 4
34613697 | EGA002 | F | 5
34626478 | EGA002 | F | 6
34649962 | EGA002 | F | 7
22231541 | EGA002 | F | 8
21016982 | EGA002 | F | 9
21018588 | EGA002 | F | 10
51145750 | EGA002 | F | 11
34600727 | EGA002 | G | 1
34601726 | EGA002 | G | 2
34603046 | EGA002 | G | 3
34606454 | EGA002 | G | 4
34615248 | EGA002 | G | 5
34626736 | EGA002 | G | 6
34650763 | EGA002 | G | 7
22226995 | EGA002 | G | 8
21017141 | EGA002 | G | 9
21018720 | EGA002 | G | 10
51145890 | EGA002 | G | 11
34600763 | EGA002 | H | 1
34601771 | EGA002 | H | 2
34603199 | EGA002 | H | 3
34606534 | EGA002 | H | 4
34615462 | EGA002 | H | 5
34627002 | EGA002 | H | 6
34651495 | EGA002 | H | 7
22227270 | EGA002 | H | 8
21017169 | EGA002 | H | 9
21018953 | EGA002 | H | 10
52533940 | EGA002 | H | 11
52534200 | EGA003 | A | 1
52542200 | EGA003 | A | 2
52547020 | EGA003 | A | 3
22233647 | EGA003 | A | 4
22251976 | EGA003 | A | 5
61029367 | EGA003 | A | 6
23416144 | EGA003 | A | 7
23429756 | EGA003 | A | 8
21055734 | EGA003 | A | 9
21060040 | EGA003 | A | 10
22264266 | EGA003 | A | 11
52534310 | EGA003 | B | 1
52542610 | EGA003 | B | 2
52549300 | EGA003 | B | 3
22239089 | EGA003 | B | 4
22245081 | EGA003 | B | 5
61029625 | EGA003 | B | 6
23416199 | EGA003 | B | 7
21043907 | EGA003 | B | 8
22252662 | EGA003 | B | 9
21060344 | EGA003 | B | 10
22271623 | EGA003 | B | 11
52534700 | EGA003 | C | 1
52542570 | EGA003 | C | 2
52549460 | EGA003 | C | 3
22244171 | EGA003 | C | 4
24628904 | EGA003 | C | 5
61030748 | EGA003 | C | 6
23416813 | EGA003 | C | 7
21045656 | EGA003 | C | 8
22260466 | EGA003 | C | 9
21060460 | EGA003 | C | 10
22272177 | EGA003 | C | 11
52535090 | EGA003 | D | 1
52543420 | EGA003 | D | 2
21038557 | EGA003 | D | 3
22244519 | EGA003 | D | 4
24629136 | EGA003 | D | 5
61071507 | EGA003 | D | 6
23417518 | EGA003 | D | 7
21047396 | EGA003 | D | 8
22259398 | EGA003 | D | 9
21061156 | EGA003 | D | 10
22265318 | EGA003 | D | 11
52535400 | EGA003 | E | 1
52544130 | EGA003 | E | 2
21038815 | EGA003 | E | 3
22251421 | EGA003 | E | 4
24629707 | EGA003 | E | 5
61072533 | EGA003 | E | 6
23426777 | EGA003 | E | 7
21047458 | EGA003 | E | 8
21056242 | EGA003 | E | 9
21061914 | EGA003 | E | 10
52551080 | EGA003 | E | 11
52535770 | EGA003 | F | 1
52544520 | EGA003 | F | 2
21039234 | EGA003 | F | 3
22251510 | EGA003 | F | 4
24629805 | EGA003 | F | 5
61072597 | EGA003 | F | 6
23427561 | EGA003 | F | 7
21053085 | EGA003 | F | 8
21057983 | EGA003 | F | 9
21062057 | EGA003 | F | 10
52552300 | EGA003 | F | 11
52535760 | EGA003 | G | 1
52544760 | EGA003 | G | 2
22233316 | EGA003 | G | 3
22251556 | EGA003 | G | 4
61028911 | EGA003 | G | 5
61075110 | EGA003 | G | 6
23428426 | EGA003 | G | 7
21053101 | EGA003 | G | 8
21058740 | EGA003 | G | 9
22268280 | EGA003 | G | 10
52553240 | EGA003 | G | 11
52536450 | EGA003 | H | 1
52546670 | EGA003 | H | 2
22204759 | EGA003 | H | 3
22251681 | EGA003 | H | 4
61029018 | EGA003 | H | 5
61076682 | EGA003 | H | 6
23429505 | EGA003 | H | 7
21053932 | EGA003 | H | 8
21059525 | EGA003 | H | 9
22264168 | EGA003 | H | 10
52571820 | EGA003 | H | 11
52572410 | EGA004 | A | 1
52579810 | EGA004 | A | 2
41058819 | EGA004 | A | 3
41084479 | EGA004 | A | 4
41111804 | EGA004 | A | 5
31068103 | EGA004 | A | 6
32245937 | EGA004 | A | 7
72448901 | EGA004 | A | 8
72413448 | EGA004 | A | 9
72424883 | EGA004 | A | 10
72427933 | EGA004 | A | 11
52574860 | EGA004 | B | 1
52582410 | EGA004 | B | 2
41073043 | EGA004 | B | 3
41079609 | EGA004 | B | 4
41111877 | EGA004 | B | 5
34661555 | EGA004 | B | 6
32246954 | EGA004 | B | 7
72451415 | EGA004 | B | 8
72413993 | EGA004 | B | 9
72425202 | EGA004 | B | 10
72428610 | EGA004 | B | 11
52575560 | EGA004 | C | 1
52583990 | EGA004 | C | 2
41090346 | EGA004 | C | 3
41077610 | EGA004 | C | 4
41110663 | EGA004 | C | 5
34661886 | EGA004 | C | 6
32247453 | EGA004 | C | 7
72452469 | EGA004 | C | 8
72415115 | EGA004 | C | 9
72425373 | EGA004 | C | 10
72429708 | EGA004 | C | 11
52575630 | EGA004 | D | 1
52584260 | EGA004 | D | 2
41080491 | EGA004 | D | 3
41076602 | EGA004 | D | 4
41130678 | EGA004 | D | 5
34662125 | EGA004 | D | 6
71003919 | EGA004 | D | 7
72456689 | EGA004 | D | 8
72419031 | EGA004 | D | 9
72425462 | EGA004 | D | 10
72430296 | EGA004 | D | 11
52576210 | EGA004 | E | 1
52584470 | EGA004 | E | 2
41073338 | EGA004 | E | 3
41112929 | EGA004 | E | 4
31066347 | EGA004 | E | 5
34663464 | EGA004 | E | 6
71004436 | EGA004 | E | 7
72459104 | EGA004 | E | 8
72419111 | EGA004 | E | 9
72426381 | EGA004 | E | 10
24651012 | EGA004 | E | 11
52576620 | EGA004 | F | 1
52585280 | EGA004 | F | 2
41080973 | EGA004 | F | 3
41106276 | EGA004 | F | 4
31066856 | EGA004 | F | 5
34665239 | EGA004 | F | 6
71004669 | EGA004 | F | 7
72407697 | EGA004 | F | 8
72419540 | EGA004 | F | 9
72427086 | EGA004 | F | 10
24651094 | EGA004 | F | 11
52577020 | EGA004 | G | 1
41059158 | EGA004 | G | 2
41083774 | EGA004 | G | 3
41109451 | EGA004 | G | 4
31066892 | EGA004 | G | 5
32245115 | EGA004 | G | 6
72448303 | EGA004 | G | 7
72408847 | EGA004 | G | 8
72420118 | EGA004 | G | 9
72427111 | EGA004 | G | 10
24651423 | EGA004 | G | 11
52579740 | EGA004 | H | 1
41058435 | EGA004 | H | 2
41084568 | EGA004 | H | 3
41109399 | EGA004 | H | 4
31067391 | EGA004 | H | 5
32245811 | EGA004 | H | 6
72448563 | EGA004 | H | 7
72409560 | EGA004 | H | 8
72421019 | EGA004 | H | 9
72427228 | EGA004 | H | 10
24652520 | EGA004 | H | 11
24652575 | EGA005 | A | 1
22281783 | EGA005 | A | 2
24657169 | EGA005 | A | 3
42476020 | EGA005 | A | 4
41163759 | EGA005 | A | 5
72524980 | EGA005 | A | 6
72528262 | EGA005 | A | 7
72530535 | EGA005 | A | 8
32258870 | EGA005 | A | 9
21100827 | EGA005 | A | 10
22307120 | EGA005 | A | 11
24653449 | EGA005 | B | 1
22281809 | EGA005 | B | 2
42485350 | EGA005 | B | 3
71061080 | EGA005 | B | 4
41184807 | EGA005 | B | 5
72525765 | EGA005 | B | 6
72528879 | EGA005 | B | 7
32257095 | EGA005 | B | 8
21096557 | EGA005 | B | 9
21103128 | EGA005 | B | 10
22292217 | EGA005 | B | 11
21073867 | EGA005 | C | 1
22282077 | EGA005 | C | 2
42495190 | EGA005 | C | 3
72463760 | EGA005 | C | 4
71061357 | EGA005 | C | 5
71070696 | EGA005 | C | 6
72529921 | EGA005 | C | 7
32258389 | EGA005 | C | 8
21096655 | EGA005 | C | 9
21097181 | EGA005 | C | 10
22292315 | EGA005 | C | 11
21074704 | EGA005 | D | 1
22277163 | EGA005 | D | 2
42492100 | EGA005 | D | 3
71061848 | EGA005 | D | 4
41176129 | EGA005 | D | 5
72526399 | EGA005 | D | 6
72527183 | EGA005 | D | 7
32255971 | EGA005 | D | 8
21097038 | EGA005 | D | 9
21105215 | EGA005 | D | 10
21110307 | EGA005 | D | 11
21075525 | EGA005 | E | 1
22283478 | EGA005 | E | 2
42491790 | EGA005 | E | 3
71063784 | EGA005 | E | 4
41157195 | EGA005 | E | 5
72526960 | EGA005 | E | 6
72530777 | EGA005 | E | 7
32259002 | EGA005 | E | 8
21096404 | EGA005 | E | 9
21105617 | EGA005 | E | 10
22312276 | EGA005 | E | 11
21077078 | EGA005 | F | 1
22282282 | EGA005 | F | 2
24654671 | EGA005 | F | 3
71064916 | EGA005 | F | 4
41164169 | EGA005 | F | 5
72526353 | EGA005 | F | 6
32255293 | EGA005 | F | 7
32259575 | EGA005 | F | 8
21098073 | EGA005 | F | 9
21104118 | EGA005 | F | 10
22290488 | EGA005 | F | 11
22281532 | EGA005 | G | 1
24655741 | EGA005 | G | 2
72460094 | EGA005 | G | 3
71065255 | EGA005 | G | 4
72524186 | EGA005 | G | 5
72528146 | EGA005 | G | 6
32255668 | EGA005 | G | 7
32259897 | EGA005 | G | 8
21099349 | EGA005 | G | 9
21110987 | EGA005 | G | 10
22289927 | EGA005 | G | 11
22281667 | EGA005 | H | 1
24656320 | EGA005 | H | 2
72461271 | EGA005 | H | 3
71068029 | EGA005 | H | 4
72524882 | EGA005 | H | 5
72528155 | EGA005 | H | 6
32255800 | EGA005 | H | 7
21096360 | EGA005 | H | 8
21100578 | EGA005 | H | 9
22289641 | EGA005 | H | 10
71116468 | EGA005 | H | 11
71115656 | EGA006 | A | 1
72537832 | EGA006 | A | 2
41230033 | EGA006 | A | 3
22313524 | EGA006 | A | 4
71158860 | EGA006 | A | 5
11160424 | EGA006 | A | 6
51104090 | EGA006 | A | 7
42402530 | EGA006 | A | 8
24629556 | EGA006 | A | 9
71002536 | EGA006 | A | 10
21104243 | EGA006 | A | 11
71117234 | EGA006 | B | 1
72539385 | EGA006 | B | 2
41241852 | EGA006 | B | 3
24692764 | EGA006 | B | 4
71161801 | EGA006 | B | 5
11163565 | EGA006 | B | 6
51104600 | EGA006 | B | 7
51145230 | EGA006 | B | 8
23415896 | EGA006 | B | 9
72422518 | EGA006 | B | 10
71113952 | EGA006 | B | 11
71120757 | EGA006 | C | 1
23454611 | EGA006 | C | 2
41243270 | EGA006 | C | 3
24692853 | EGA006 | C | 4
11136979 | EGA006 | C | 5
11163994 | EGA006 | C | 6
51107950 | EGA006 | C | 7
51145450 | EGA006 | C | 8
21044675 | EGA006 | C | 9
72424507 | EGA006 | C | 10
71115156 | EGA006 | C | 11
71121256 | EGA006 | D | 1
23455307 | EGA006 | D | 2
21112305 | EGA006 | D | 3
24694600 | EGA006 | D | 4
11137076 | EGA006 | D | 5
21126185 | EGA006 | D | 6
52500480 | EGA006 | D | 7
51146160 | EGA006 | D | 8
21057689 | EGA006 | D | 9
21075267 | EGA006 | D | 10
71118206 | EGA006 | D | 11
71122040 | EGA006 | E | 1
23456155 | EGA006 | E | 2
21112592 | EGA006 | E | 3
24694655 | EGA006 | E | 4
11122706 | EGA006 | E | 5
21126774 | EGA006 | E | 6
52500390 | EGA006 | E | 7
52541390 | EGA006 | E | 8
22268271 | EGA006 | E | 9
22277592 | EGA006 | E | 10
71121363 | EGA006 | E | 11
72533176 | EGA006 | F | 1
23457243 | EGA006 | F | 2
21113117 | EGA006 | F | 3
24694691 | EGA006 | F | 4
11140339 | EGA006 | F | 5
11164813 | EGA006 | F | 6
52501180 | EGA006 | F | 7
21035087 | EGA006 | F | 8
41079743 | EGA006 | F | 9
22277832 | EGA006 | F | 10
41197884 | EGA006 | F | 11
72533890 | EGA006 | G | 1
23457403 | EGA006 | G | 2
22312829 | EGA006 | G | 3
71153605 | EGA006 | G | 4
11142588 | EGA006 | G | 5
41005287 | EGA006 | G | 6
52505060 | EGA006 | G | 7
21035425 | EGA006 | G | 8
41110494 | EGA006 | G | 9
71062043 | EGA006 | G | 10
71153963 | EGA006 | G | 11
72536735 | EGA006 | H | 1
41197946 | EGA006 | H | 2
22290586 | EGA006 | H | 3
71153758 | EGA006 | H | 4
11154824 | EGA006 | H | 5
41014955 | EGA006 | H | 6
52512110 | EGA006 | H | 7
22244000 | EGA006 | H | 8
71002385 | EGA006 | H | 9
71066209 | EGA006 | H | 10
21127291 | EGA006 | H | 11
21128441 | EGA007 | A | 1
51117720 | EGA007 | A | 2
41016864 | EGA007 | A | 3
41022713 | EGA007 | A | 4
41028744 | EGA007 | A | 5
52532510 | EGA007 | A | 6
22220115 | EGA007 | A | 7
31018023 | EGA007 | A | 8
34609960 | EGA007 | A | 9
31031384 | EGA007 | A | 10
33421262 | EGA007 | A | 11
21128674 | EGA007 | B | 1
51124660 | EGA007 | B | 2
41017443 | EGA007 | B | 3
41022339 | EGA007 | B | 4
41028708 | EGA007 | B | 5
22203536 | EGA007 | B | 6
22220348 | EGA007 | B | 7
34607846 | EGA007 | B | 8
34610449 | EGA007 | B | 9
33419533 | EGA007 | B | 10
33422430 | EGA007 | B | 11
41001352 | EGA007 | C | 1
41012055 | EGA007 | C | 2
41019370 | EGA007 | C | 3
41020162 | EGA007 | C | 4
24619290 | EGA007 | C | 5
22203625 | EGA007 | C | 6
22215229 | EGA007 | C | 7
34607837 | EGA007 | C | 8
34611028 | EGA007 | C | 9
33419819 | EGA007 | C | 10
33422743 | EGA007 | C | 11
41002100 | EGA007 | D | 1
41012082 | EGA007 | D | 2
41020859 | EGA007 | D | 3
41021992 | EGA007 | D | 4
51143850 | EGA007 | D | 5
22202466 | EGA007 | D | 6
35805102 | EGA007 | D | 7
34607873 | EGA007 | D | 8
31028478 | EGA007 | D | 9
33420290 | EGA007 | D | 10
34641406 | EGA007 | D | 11
41000273 | EGA007 | E | 1
41012644 | EGA007 | E | 2
41021401 | EGA007 | E | 3
41023132 | EGA007 | E | 4
51143960 | EGA007 | E | 5
22207407 | EGA007 | E | 6
31015268 | EGA007 | E | 7
34608390 | EGA007 | E | 8
31028781 | EGA007 | E | 9
33420656 | EGA007 | E | 10
34641700 | EGA007 | E | 11
41002413 | EGA007 | F | 1
41012635 | EGA007 | F | 2
41020626 | EGA007 | F | 3
41023472 | EGA007 | F | 4
51144400 | EGA007 | F | 5
22207523 | EGA007 | F | 6
31016990 | EGA007 | F | 7
34608425 | EGA007 | F | 8
34624425 | EGA007 | F | 9
33420647 | EGA007 | F | 10
34642209 | EGA007 | F | 11
41001585 | EGA007 | G | 1
41025292 | EGA007 | G | 2
41020322 | EGA007 | G | 3
41023294 | EGA007 | G | 4
51144750 | EGA007 | G | 5
22213365 | EGA007 | G | 6
31017131 | EGA007 | G | 7
34608578 | EGA007 | G | 8
31030803 | EGA007 | G | 9
33420932 | EGA007 | G | 10
34642450 | EGA007 | G | 11
41015258 | EGA007 | H | 1
41019281 | EGA007 | H | 2
21011352 | EGA007 | H | 3
41028940 | EGA007 | H | 4
52531050 | EGA007 | H | 5
22214579 | EGA007 | H | 6
31017668 | EGA007 | H | 7
34608907 | EGA007 | H | 8
31031053 | EGA007 | H | 9
33421057 | EGA007 | H | 10
34645313 | EGA007 | H | 11
41033989 | EGA008 | A | 1
41043816 | EGA008 | A | 2
52536290 | EGA008 | A | 3
41065230 | EGA008 | A | 4
61060760 | EGA008 | A | 5
61070473 | EGA008 | A | 6
22258586 | EGA008 | A | 7
24641747 | EGA008 | A | 8
22264873 | EGA008 | A | 9
52580550 | EGA008 | A | 10
41074408 | EGA008 | A | 11
41039714 | EGA008 | B | 1
41042844 | EGA008 | B | 2
52547640 | EGA008 | B | 3
41063143 | EGA008 | B | 4
61064659 | EGA008 | B | 5
21048671 | EGA008 | B | 6
22260626 | EGA008 | B | 7
24642219 | EGA008 | B | 8
22265167 | EGA008 | B | 9
52580650 | EGA008 | B | 10
41080437 | EGA008 | B | 11
41042068 | EGA008 | C | 1
41045109 | EGA008 | C | 2
52547860 | EGA008 | C | 3
72403342 | EGA008 | C | 4
61066040 | EGA008 | C | 5
21048760 | EGA008 | C | 6
22260804 | EGA008 | C | 7
24642371 | EGA008 | C | 8
22265701 | EGA008 | C | 9
41066891 | EGA008 | C | 10
41080777 | EGA008 | C | 11
41037672 | EGA008 | D | 1
41045029 | EGA008 | D | 2
52549250 | EGA008 | D | 3
72404289 | EGA008 | D | 4
61066488 | EGA008 | D | 5
21049698 | EGA008 | D | 6
22260831 | EGA008 | D | 7
21068239 | EGA008 | D | 8
52551650 | EGA008 | D | 9
41059756 | EGA008 | D | 10
41073365 | EGA008 | D | 11
41047867 | EGA008 | E | 1
51147270 | EGA008 | E | 2
41068853 | EGA008 | E | 3
72404458 | EGA008 | E | 4
61067594 | EGA008 | E | 5
21051578 | EGA008 | E | 6
22260859 | EGA008 | E | 7
22268100 | EGA008 | E | 8
52551930 | EGA008 | E | 9
41074720 | EGA008 | E | 10
41087958 | EGA008 | E | 11
41047750 | EGA008 | F | 1
52534110 | EGA008 | F | 2
41060039 | EGA008 | F | 3
72405206 | EGA008 | F | 4
61069305 | EGA008 | F | 5
21052424 | EGA008 | F | 6
22260920 | EGA008 | F | 7
22268253 | EGA008 | F | 8
52576460 | EGA008 | F | 9
41058748 | EGA008 | F | 10
41079190 | EGA008 | F | 11
41047965 | EGA008 | G | 1
52534980 | EGA008 | G | 2
41062368 | EGA008 | G | 3
72405653 | EGA008 | G | 4
61069323 | EGA008 | G | 5
22258246 | EGA008 | G | 6
24639876 | EGA008 | G | 7
22264471 | EGA008 | G | 8
52576880 | EGA008 | G | 9
41062626 | EGA008 | G | 10
41087887 | EGA008 | G | 11
41054260 | EGA008 | H | 1
52535940 | EGA008 | H | 2
41064357 | EGA008 | H | 3
61060420 | EGA008 | H | 4
61070044 | EGA008 | H | 5
22260359 | EGA008 | H | 6
24640220 | EGA008 | H | 7
22264702 | EGA008 | H | 8
52580200 | EGA008 | H | 9
41074597 | EGA008 | H | 10
41079627 | EGA008 | H | 11
41071232 | EGA009 | A | 1
41095805 | EGA009 | A | 2
41110645 | EGA009 | A | 3
31055117 | EGA009 | A | 4
32226029 | EGA009 | A | 5
35872503 | EGA009 | A | 6
35880807 | EGA009 | A | 7
32241511 | EGA009 | A | 8
71012963 | EGA009 | A | 9
72442710 | EGA009 | A | 10
72452272 | EGA009 | A | 11
41069138 | EGA009 | B | 1
41091649 | EGA009 | B | 2
41110574 | EGA009 | B | 3
31055984 | EGA009 | B | 4
32227635 | EGA009 | B | 5
35872656 | EGA009 | B | 6
35880978 | EGA009 | B | 7
32241708 | EGA009 | B | 8
71013926 | EGA009 | B | 9
72444512 | EGA009 | B | 10
72407286 | EGA009 | B | 11
41085030 | EGA009 | C | 1
41091765 | EGA009 | C | 2
35865744 | EGA009 | C | 3
32210572 | EGA009 | C | 4
32228214 | EGA009 | C | 5
35872825 | EGA009 | C | 6
35881075 | EGA009 | C | 7
32242154 | EGA009 | C | 8
71014756 | EGA009 | C | 9
72444969 | EGA009 | C | 10
72408016 | EGA009 | C | 11
41077683 | EGA009 | D | 1
41092540 | EGA009 | D | 2
35867288 | EGA009 | D | 3
32210590 | EGA009 | D | 4
32229320 | EGA009 | D | 5
35874556 | EGA009 | D | 6
35881379 | EGA009 | D | 7
32242261 | EGA009 | D | 8
71015960 | EGA009 | D | 9
72445851 | EGA009 | D | 10
72409604 | EGA009 | D | 11
41076442 | EGA009 | E | 1
41101315 | EGA009 | E | 2
35867813 | EGA009 | E | 3
32210803 | EGA009 | E | 4
35869508 | EGA009 | E | 5
35874850 | EGA009 | E | 6
35881913 | EGA009 | E | 7
32244607 | EGA009 | E | 8
71016352 | EGA009 | E | 9
72448269 | EGA009 | E | 10
72409917 | EGA009 | E | 11
41076059 | EGA009 | F | 1
41105142 | EGA009 | F | 2
31053771 | EGA009 | F | 3
32211277 | EGA009 | F | 4
35869848 | EGA009 | F | 5
35875902 | EGA009 | F | 6
32230461 | EGA009 | F | 7
71000467 | EGA009 | F | 8
71016754 | EGA009 | F | 9
72449795 | EGA009 | F | 10
72414009 | EGA009 | F | 11
41098311 | EGA009 | G | 1
41109004 | EGA009 | G | 2
31054190 | EGA009 | G | 3
32211302 | EGA009 | G | 4
35870541 | EGA009 | G | 5
35876312 | EGA009 | G | 6
32232478 | EGA009 | G | 7
71010241 | EGA009 | G | 8
71016905 | EGA009 | G | 9
72450658 | EGA009 | G | 10
72414974 | EGA009 | G | 11
41098857 | EGA009 | H | 1
41104278 | EGA009 | H | 2
31054814 | EGA009 | H | 3
32225459 | EGA009 | H | 4
35872218 | EGA009 | H | 5
35876643 | EGA009 | H | 6
32232816 | EGA009 | H | 7
71011188 | EGA009 | H | 8
71017253 | EGA009 | H | 9
72451791 | EGA009 | H | 10
72415839 | EGA009 | H | 11
72417300 | EGA010 | A | 1
72427273 | EGA010 | A | 2
71018896 | EGA010 | A | 3
21070253 | EGA010 | A | 4
22283576 | EGA010 | A | 5
24664044 | EGA010 | A | 6
41136912 | EGA010 | A | 7
41165837 | EGA010 | A | 8
71042583 | EGA010 | A | 9
41173551 | EGA010 | A | 10
61130229 | EGA010 | A | 11
72417971 | EGA010 | B | 1
72427406 | EGA010 | B | 2
71019153 | EGA010 | B | 3
21071681 | EGA010 | B | 4
22295947 | EGA010 | B | 5
22298015 | EGA010 | B | 6
41134129 | EGA010 | B | 7
41160467 | EGA010 | B | 8
71043831 | EGA010 | B | 9
41174961 | EGA010 | B | 10
61132183 | EGA010 | B | 11
72419808 | EGA010 | C | 1
72428852 | EGA010 | C | 2
71019242 | EGA010 | C | 3
21071832 | EGA010 | C | 4
22285663 | EGA010 | C | 5
22286886 | EGA010 | C | 6
42491520 | EGA010 | C | 7
71033753 | EGA010 | C | 8
71046865 | EGA010 | C | 9
71081764 | EGA010 | C | 10
61132496 | EGA010 | C | 11
72421368 | EGA010 | D | 1
72429440 | EGA010 | D | 2
71019591 | EGA010 | D | 3
21073518 | EGA010 | D | 4
22286368 | EGA010 | D | 5
22300298 | EGA010 | D | 6
41132434 | EGA010 | D | 7
71035055 | EGA010 | D | 8
71049344 | EGA010 | D | 9
71082969 | EGA010 | D | 10
71086509 | EGA010 | D | 11
72422018 | EGA010 | E | 1
72429771 | EGA010 | E | 2
71019662 | EGA010 | E | 3
22282166 | EGA010 | E | 4
24659229 | EGA010 | E | 5
22287563 | EGA010 | E | 6
41120465 | EGA010 | E | 7
71036858 | EGA010 | E | 8
41159915 | EGA010 | E | 9
71084065 | EGA010 | E | 10
72523801 | EGA010 | E | 11
72422581 | EGA010 | F | 1
72430036 | EGA010 | F | 2
71020669 | EGA010 | F | 3
22282273 | EGA010 | F | 4
24659989 | EGA010 | F | 5
22287812 | EGA010 | F | 6
41124050 | EGA010 | F | 7
71036894 | EGA010 | F | 8
41156856 | EGA010 | F | 9
71085715 | EGA010 | F | 10
72524220 | EGA010 | F | 11
72423053 | EGA010 | G | 1
72440641 | EGA010 | G | 2
71020785 | EGA010 | G | 3
22276940 | EGA010 | G | 4
24660664 | EGA010 | G | 5
22287858 | EGA010 | G | 6
41119879 | EGA010 | G | 7
71039177 | EGA010 | G | 8
41172598 | EGA010 | G | 9
61128670 | EGA010 | G | 10
72524266 | EGA010 | G | 11
72426176 | EGA010 | H | 1
71018369 | EGA010 | H | 2
71020865 | EGA010 | H | 3
22283021 | EGA010 | H | 4
24662493 | EGA010 | H | 5
22287876 | EGA010 | H | 6
41146205 | EGA010 | H | 7
71042074 | EGA010 | H | 8
41172687 | EGA010 | H | 9
61129606 | EGA010 | H | 10
72524597 | EGA010 | H | 11
72524917 | EGA011 | A | 1
52599260 | EGA011 | A | 2
51245630 | EGA011 | A | 3
61090237 | EGA011 | A | 4
61112874 | EGA011 | A | 5
41184101 | EGA011 | A | 6
22311900 | EGA011 | A | 7
24679869 | EGA011 | A | 8
72541050 | EGA011 | A | 9
61164158 | EGA011 | A | 10
51262140 | EGA011 | A | 11
72526102 | EGA011 | B | 1
52599460 | EGA011 | B | 2
51247550 | EGA011 | B | 3
61090531 | EGA011 | B | 4
61113711 | EGA011 | B | 5
41183497 | EGA011 | B | 6
22311955 | EGA011 | B | 7
24680400 | EGA011 | B | 8
72541336 | EGA011 | B | 9
11101729 | EGA011 | B | 10
51263600 | EGA011 | B | 11
72526246 | EGA011 | C | 1
51221600 | EGA011 | C | 2
51248700 | EGA011 | C | 3
61092155 | EGA011 | C | 4
61114505 | EGA011 | C | 5
41179028 | EGA011 | C | 6
24677889 | EGA011 | C | 7
24680651 | EGA011 | C | 8
72542906 | EGA011 | C | 9
11111941 | EGA011 | C | 10
51266130 | EGA011 | C | 11
72528566 | EGA011 | D | 1
51222420 | EGA011 | D | 2
51248840 | EGA011 | D | 3
61107291 | EGA011 | D | 4
61114587 | EGA011 | D | 5
41179895 | EGA011 | D | 6
24677978 | EGA011 | D | 7
24681169 | EGA011 | D | 8
72546948 | EGA011 | D | 9
11112324 | EGA011 | D | 10
41202233 | EGA011 | D | 11
72529243 | EGA011 | E | 1
51222700 | EGA011 | E | 2
51251320 | EGA011 | E | 3
61107997 | EGA011 | E | 4
61115095 | EGA011 | E | 5
41201350 | EGA011 | E | 6
24678173 | EGA011 | E | 7
51252190 | EGA011 | E | 8
61161464 | EGA011 | E | 9
11112593 | EGA011 | E | 10
41195546 | EGA011 | E | 11
72530464 | EGA011 | F | 1
51223240 | EGA011 | F | 2
51251380 | EGA011 | F | 3
61108030 | EGA011 | F | 4
41182649 | EGA011 | F | 5
41187742 | EGA011 | F | 6
24678182 | EGA011 | F | 7
51254050 | EGA011 | F | 8
61162203 | EGA011 | F | 9
11112600 | EGA011 | F | 10
41195653 | EGA011 | F | 11
52597160 | EGA011 | G | 1
51224070 | EGA011 | G | 2
61088848 | EGA011 | G | 3
61111713 | EGA011 | G | 4
41179242 | EGA011 | G | 5
22293314 | EGA011 | G | 6
24678771 | EGA011 | G | 7
51254570 | EGA011 | G | 8
61162892 | EGA011 | G | 9
51261640 | EGA011 | G | 10
41244037 | EGA011 | G | 11
52597490 | EGA011 | H | 1
51244900 | EGA011 | H | 2
61089150 | EGA011 | H | 3
61112463 | EGA011 | H | 4
41184423 | EGA011 | H | 5
22293369 | EGA011 | H | 6
24679618 | EGA011 | H | 7
72541005 | EGA011 | H | 8
61163935 | EGA011 | H | 9
51261770 | EGA011 | H | 10
41235029 | EGA011 | H | 11
41243001 | EGA012 | A | 1
71126037 | EGA012 | A | 2
71141083 | EGA012 | A | 3
41236617 | EGA012 | A | 4
41239016 | EGA012 | A | 5
72593165 | EGA012 | A | 6
22310232 | EGA012 | A | 7
72604849 | EGA012 | A | 8
61255309 | EGA012 | A | 9
61260197 | EGA012 | A | 10
61261570 | EGA012 | A | 11
41234922 | EGA012 | B | 1
71127705 | EGA012 | B | 2
71144320 | EGA012 | B | 3
41232862 | EGA012 | B | 4
41239409 | EGA012 | B | 5
72602172 | EGA012 | B | 6
22310803 | EGA012 | B | 7
72605017 | EGA012 | B | 8
61255612 | EGA012 | B | 9
61260286 | EGA012 | B | 10
61261810 | EGA012 | B | 11
41243038 | EGA012 | C | 1
71128679 | EGA012 | C | 2
71145267 | EGA012 | C | 3
41231943 | EGA012 | C | 4
41237607 | EGA012 | C | 5
72602412 | EGA012 | C | 6
22294706 | EGA012 | C | 7
72606490 | EGA012 | C | 8
61255710 | EGA012 | C | 9
72640238 | EGA012 | C | 10
61263167 | EGA012 | C | 11
41243207 | EGA012 | D | 1
71129392 | EGA012 | D | 2
71145874 | EGA012 | D | 3
41227476 | EGA012 | D | 4
41237581 | EGA012 | D | 5
61217136 | EGA012 | D | 6
41253214 | EGA012 | D | 7
71217402 | EGA012 | D | 8
61255881 | EGA012 | D | 9
72641639 | EGA012 | D | 10
61263701 | EGA012 | D | 11
41235323 | EGA012 | E | 1
71133243 | EGA012 | E | 2
71146275 | EGA012 | E | 3
41227752 | EGA012 | E | 4
72590186 | EGA012 | E | 5
61217921 | EGA012 | E | 6
41253992 | EGA012 | E | 7
71217439 | EGA012 | E | 8
61256559 | EGA012 | E | 9
72641773 | EGA012 | E | 10
61264700 | EGA012 | E | 11
41243412 | EGA012 | F | 1
71133903 | EGA012 | F | 2
52663680 | EGA012 | F | 3
41227314 | EGA012 | F | 4
72590337 | EGA012 | F | 5
61220177 | EGA012 | F | 6
41254768 | EGA012 | F | 7
71218643 | EGA012 | F | 8
61257058 | EGA012 | F | 9
72645975 | EGA012 | F | 10
61267047 | EGA012 | F | 11
71125092 | EGA012 | G | 1
71135867 | EGA012 | G | 2
41236288 | EGA012 | G | 3
41228706 | EGA012 | G | 4
72590382 | EGA012 | G | 5
61220346 | EGA012 | G | 6
41254562 | EGA012 | G | 7
71220694 | EGA012 | G | 8
61258182 | EGA012 | G | 9
72646170 | EGA012 | G | 10
61269536 | EGA012 | G | 11
71125234 | EGA012 | H | 1
71136035 | EGA012 | H | 2
41235949 | EGA012 | H | 3
41239598 | EGA012 | H | 4
72593129 | EGA012 | H | 5
22310198 | EGA012 | H | 6
41253796 | EGA012 | H | 7
61254613 | EGA012 | H | 8
61259421 | EGA012 | H | 9
61261552 | EGA012 | H | 10
71221988 | EGA012 | H | 11
61260473 | EGA014 | A | 1
03734-7 | EGA014 | A | 2
09167-0 | EGA014 | A | 3
40304-7 | EGA014 | A | 4
41505-4 | EGA014 | A | 5
42210-6 | EGA014 | A | 6
43254-6 | EGA014 | A | 7
18907-3 | EGA014 | A | 8
45706-3 | EGA014 | A | 9
49930-9 | EGA014 | A | 10
25165-0 | EGA014 | A | 11
22294500 | EGA014 | B | 1
05319-4 | EGA014 | B | 2
09285-3 | EGA014 | B | 3
40344-5 | EGA014 | B | 4
41558-5 | EGA014 | B | 5
42303-8 | EGA014 | B | 6
43286-6 | EGA014 | B | 7
19102-8 | EGA014 | B | 8
45885-5 | EGA014 | B | 9
21050-4 | EGA014 | B | 10
25535-6 | EGA014 | B | 11
61218395 | EGA014 | C | 1
05518-3 | EGA014 | C | 2
09325-4 | EGA014 | C | 3
40413-5 | EGA014 | C | 4
41597-6 | EGA014 | C | 5
42387-2 | EGA014 | C | 6
11193-1 | EGA014 | C | 7
19859-8 | EGA014 | C | 8
45991-2 | EGA014 | C | 9
21141-2 | EGA014 | C | 10
25947-4 | EGA014 | C | 11
05819-9 | EGA014 | D | 2
09519-6 | EGA014 | D | 3
40917-8 | EGA014 | D | 4
41683-9 | EGA014 | D | 5
42395-0 | EGA014 | D | 6
13692-7 | EGA014 | D | 7
19983-5 | EGA014 | D | 8
46015-1 | EGA014 | D | 9
21319-8 | EGA014 | D | 10
29018-4 | EGA014 | D | 11
06059-7 | EGA014 | E | 2
09684-8 | EGA014 | E | 3
40948-1 | EGA014 | E | 4
41802-2 | EGA014 | E | 5
42474-2 | EGA014 | E | 6
13754-6 | EGA014 | E | 7
20304-7 | EGA014 | E | 8
46058-0 | EGA014 | E | 9
23036-0 | EGA014 | E | 10
29128-9 | EGA014 | E | 11
06099-5 | EGA014 | F | 2
10172-6 | EGA014 | F | 3
41090-2 | EGA014 | F | 4
41854-6 | EGA014 | F | 5
42579-0 | EGA014 | F | 6
18217-4 | EGA014 | F | 7
45441-7 | EGA014 | F | 8
46072-2 | EGA014 | F | 9
24134-3 | EGA014 | F | 10
29279-9 | EGA014 | F | 11
07670-0 | EGA014 | G | 2
40137-8 | EGA014 | G | 3
41143-6 | EGA014 | G | 4
41908-7 | EGA014 | G | 5
43017-3 | EGA014 | G | 6
18224-5 | EGA014 | G | 7
45513-8 | EGA014 | G | 8
46158-3 | EGA014 | G | 9
24186-7 | EGA014 | G | 10
29962-9 | EGA014 | G | 11
08873-1 | EGA014 | H | 2
40295-9 | EGA014 | H | 3
41454-4 | EGA014 | H | 4
42207-3 | EGA014 | H | 5
43049-3 | EGA014 | H | 6
18238-5 | EGA014 | H | 7
45532-5 | EGA014 | H | 8
46587-4 | EGA014 | H | 9
24356-7 | EGA014 | H | 10
30786-4 | EGA014 | H | 11
30788-8 | EGA015 | A | 1
54539-5 | EGA015 | A | 2
34879-2 | EGA015 | A | 3
39405-8 | EGA015 | A | 4
30918-0 | EGA015 | B | 1
31430-7 | EGA015 | B | 2
34961-7 | EGA015 | B | 3
39479-0 | EGA015 | B | 4
30941-7 | EGA015 | C | 1
32157-5 | EGA015 | C | 2
36133-9 | EGA015 | C | 3
39481-6 | EGA015 | C | 4
31151-9 | EGA015 | D | 1
32922-8 | EGA015 | D | 2
37553-9 | EGA015 | D | 3
39621-0 | EGA015 | D | 4
53820-5 | EGA015 | E | 1
32550-8 | EGA015 | E | 2
38281-6 | EGA015 | E | 3
39707-1 | EGA015 | E | 4
54001-8 | EGA015 | F | 1
33356-8 | EGA015 | F | 2
38407-8 | EGA015 | F | 3
39798-6 | EGA015 | F | 4
54483-0 | EGA015 | G | 1
33698-9 | EGA015 | G | 2
38633-2 | EGA015 | G | 3
54512-2 | EGA015 | H | 1
33954-2 | EGA015 | H | 2
38866-5 | EGA015 | H | 3
2401930076 | EGA016 | A | 1
2480931405 | EGA016 | A | 2
2482930279 | EGA016 | A | 3
2482951947 | EGA016 | A | 4
2404930197 | EGA016 | B | 1
2480931478 | EGA016 | B | 2
2482930996 | EGA016 | B | 3
2409930058 | EGA016 | C | 1
2480940247 | EGA016 | C | 2
2482940082 | EGA016 | C | 3
2409940059 | EGA016 | D | 1
2480942061 | EGA016 | D | 2
2482940126 | EGA016 | D | 3
2460920236 | EGA016 | E | 1
2480951144 | EGA016 | E | 2
2482950105 | EGA016 | E | 3
2480931024 | EGA016 | F | 1
2480951539 | EGA016 | F | 2
2482951577 | EGA016 | F | 3
2480931260 | EGA016 | G | 1
2481930157 | EGA016 | G | 2
2482951637 | EGA016 | G | 3
2480931271 | EGA016 | H | 1
2482930230 | EGA016 | H | 2
2482951945 | EGA016 | H | 3
24600915 | EGA017 | A | 1
34600889 | EGA017 | A | 2
52547020 | EGA017 | A | 3
41084479 | EGA017 | A | 4
41163759 | EGA017 | A | 5
11160424 | EGA017 | A | 6
22220115 | EGA017 | A | 7
24641747 | EGA017 | A | 8
71012963 | EGA017 | A | 9
41173551 | EGA017 | A | 10
51262140 | EGA017 | A | 11
24601281 | EGA017 | B | 1
34601011 | EGA017 | B | 2
52549300 | EGA017 | B | 3
41079609 | EGA017 | B | 4
41184807 | EGA017 | B | 5
11163565 | EGA017 | B | 6
22220348 | EGA017 | B | 7
24642219 | EGA017 | B | 8
71013926 | EGA017 | B | 9
41174961 | EGA017 | B | 10
51263600 | EGA017 | B | 11
24601503 | EGA017 | C | 1
34601119 | EGA017 | C | 2
52549460 | EGA017 | C | 3
41077610 | EGA017 | C | 4
71061357 | EGA017 | C | 5
11163994 | EGA017 | C | 6
22215229 | EGA017 | C | 7
24642371 | EGA017 | C | 8
71014756 | EGA017 | C | 9
71081764 | EGA017 | C | 10
51266130 | EGA017 | C | 11
24601825 | EGA017 | D | 1
34601440 | EGA017 | D | 2
21038557 | EGA017 | D | 3
41076602 | EGA017 | D | 4
41176129 | EGA017 | D | 5
21126185 | EGA017 | D | 6
35805102 | EGA017 | D | 7
21068239 | EGA017 | D | 8
71015960 | EGA017 | D | 9
71082969 | EGA017 | D | 10
41202233 | EGA017 | D | 11
24601914 | EGA017 | E | 1
34601511 | EGA017 | E | 2
21038815 | EGA017 | E | 3
41112929 | EGA017 | E | 4
41157195 | EGA017 | E | 5
21126774 | EGA017 | E | 6
31015268 | EGA017 | E | 7
22268100 | EGA017 | E | 8
71016352 | EGA017 | E | 9
71084065 | EGA017 | E | 10
41195546 | EGA017 | E | 11
21006957 | EGA017 | F | 1
34601655 | EGA017 | F | 2
21039234 | EGA017 | F | 3
41106276 | EGA017 | F | 4
41164169 | EGA017 | F | 5
11164813 | EGA017 | F | 6
31016990 | EGA017 | F | 7
22268253 | EGA017 | F | 8
71016754 | EGA017 | F | 9
71085715 | EGA017 | F | 10
41195653 | EGA017 | F | 11
21007269 | EGA017 | G | 1
34601726 | EGA017 | G | 2
22233316 | EGA017 | G | 3
41109451 | EGA017 | G | 4
72524186 | EGA017 | G | 5
41005287 | EGA017 | G | 6
31017131 | EGA017 | G | 7
22264471 | EGA017 | G | 8
71016905 | EGA017 | G | 9
61128670 | EGA017 | G | 10
41244037 | EGA017 | G | 11
21008017 | EGA017 | H | 1
34601771 | EGA017 | H | 2
22204759 | EGA017 | H | 3
41109399 | EGA017 | H | 4
72524882 | EGA017 | H | 5
41014955 | EGA017 | H | 6
31017668 | EGA017 | H | 7
22264702 | EGA017 | H | 8
71017253 | EGA017 | H | 9
61129606 | EGA017 | H | 10
41235029 | EGA017 | H | 11
41243001 | EGA018 | A | 1
03734-7 | EGA018 | A | 2
34879-2 | EGA018 | A | 3
2480931405 | EGA018 | A | 5
41234922 | EGA018 | B | 1
05319-4 | EGA018 | B | 2
34961-7 | EGA018 | B | 3
2480931478 | EGA018 | B | 5
41243038 | EGA018 | C | 1
05518-3 | EGA018 | C | 2
36133-9 | EGA018 | C | 3
2480940247 | EGA018 | C | 5
41243207 | EGA018 | D | 1
05819-9 | EGA018 | D | 2
37553-9 | EGA018 | D | 3
2480942061 | EGA018 | D | 5
41235323 | EGA018 | E | 1
06059-7 | EGA018 | E | 2
38281-6 | EGA018 | E | 3
2480951144 | EGA018 | E | 5
41243412 | EGA018 | F | 1
06099-5 | EGA018 | F | 2
38407-8 | EGA018 | F | 3
2480951539 | EGA018 | F | 5
71125092 | EGA018 | G | 1
07670-0 | EGA018 | G | 2
38633-2 | EGA018 | G | 3
2481930157 | EGA018 | G | 5
71125234 | EGA018 | H | 1
08873-1 | EGA018 | H | 2
38866-5 | EGA018 | H | 3
2482930230 | EGA018 | H | 5
G00772 | MALMO001 | A | 1
G00801 | MALMO001 | A | 2
G00823 | MALMO001 | A | 3
G00835 | MALMO001 | A | 4
G00848 | MALMO001 | A | 5
G02601 | MALMO001 | A | 6
G02669 | MALMO001 | A | 7
G02748 | MALMO001 | A | 8
G02817 | MALMO001 | A | 9
G02827 | MALMO001 | A | 10
G02958 | MALMO001 | A | 11
G03033 | MALMO001 | A | 12
G03110 | MALMO001 | B | 1
G03144 | MALMO001 | B | 2
G03205 | MALMO001 | B | 3
G03300 | MALMO001 | B | 4
G03427 | MALMO001 | B | 5
G03598 | MALMO001 | B | 6
G03626 | MALMO001 | B | 7
G03828 | MALMO001 | B | 8
G04843 | MALMO001 | B | 9
G04884 | MALMO001 | B | 10
G05112 | MALMO001 | B | 11
G05165 | MALMO001 | B | 12
G05195 | MALMO001 | C | 1
G05455 | MALMO001 | C | 2
G05589 | MALMO001 | C | 3
G05620 | MALMO001 | C | 4
G05834 | MALMO001 | C | 5
G05859 | MALMO001 | C | 6
G05906 | MALMO001 | C | 7
G05999 | MALMO001 | C | 8
G06008 | MALMO001 | C | 9
G06033 | MALMO001 | C | 10
G06369 | MALMO001 | C | 11
G06428 | MALMO001 | C | 12
G06467 | MALMO001 | D | 1
G06783 | MALMO001 | D | 2
G09271 | MALMO001 | D | 3
G09352 | MALMO001 | D | 4
G09514 | MALMO001 | D | 5
G09787 | MALMO001 | D | 6
G09854 | MALMO001 | D | 7
G09961 | MALMO001 | D | 8
G09998 | MALMO001 | D | 9
G10000 | MALMO001 | D | 10
G10048 | MALMO001 | D | 11
G10313 | MALMO001 | D | 12
G10341 | MALMO001 | E | 1
G10356 | MALMO001 | E | 2
G10377 | MALMO001 | E | 3
G10589 | MALMO001 | E | 4
G10634 | MALMO001 | E | 5
G10776 | MALMO001 | E | 6
G10826 | MALMO001 | E | 7
G10832 | MALMO001 | E | 8
G10956 | MALMO001 | E | 9
G10988 | MALMO001 | E | 10
G11064 | MALMO001 | E | 11
G11191 | MALMO001 | E | 12
G11293 | MALMO001 | F | 1
G11389 | MALMO001 | F | 2
G11653 | MALMO001 | F | 3
G12293 | MALMO001 | F | 4
G12349 | MALMO001 | F | 5
G12409 | MALMO001 | F | 6
G12417 | MALMO001 | F | 7
G12548 | MALMO001 | F | 8
G12597 | MALMO001 | F | 9
G12610 | MALMO001 | F | 10
G12622 | MALMO001 | F | 11
G12668 | MALMO001 | F | 12
G12733 | MALMO001 | G | 1
G12851 | MALMO001 | G | 2
G13787 | MALMO001 | G | 3
G13792 | MALMO001 | G | 4
G13817 | MALMO001 | G | 5
G13846 | MALMO001 | G | 6
G13865 | MALMO001 | G | 7
G13868 | MALMO001 | G | 8
G13911 | MALMO001 | G | 9
G13932 | MALMO001 | G | 10
G13952 | MALMO001 | G | 11
G13966 | MALMO001 | G | 12
G14023 | MALMO001 | H | 1
G14027 | MALMO001 | H | 2
G14123 | MALMO001 | H | 3
G14152 | MALMO001 | H | 4
G15978 | MALMO002 | A | 1
G15695 | MALMO002 | A | 2
G16038 | MALMO002 | A | 3
L16487 | MALMO002 | A | 4
L16578 | MALMO002 | A | 5
L16598 | MALMO002 | A | 6
L16604 | MALMO002 | A | 7
L16779 | MALMO002 | A | 8
L17019 | MALMO002 | A | 9
L17081 | MALMO002 | A | 10
L17107 | MALMO002 | A | 11
L17147 | MALMO002 | A | 12
L18361 | MALMO002 | B | 1
L18482 | MALMO002 | B | 2
L18500 | MALMO002 | B | 3
L18554 | MALMO002 | B | 4
L18675 | MALMO002 | B | 5
L18765 | MALMO002 | B | 6
L18766 | MALMO002 | B | 7
L18776 | MALMO002 | B | 8
L18807 | MALMO002 | B | 9
L18922 | MALMO002 | B | 10
L18942 | MALMO002 | B | 11
L18960 | MALMO002 | B | 12
L19095 | MALMO002 | C | 1
L19201 | MALMO002 | C | 2
L19221 | MALMO002 | C | 3
L19976 | MALMO002 | C | 4
L20154 | MALMO002 | C | 5
L20243 | MALMO002 | C | 6
L20269 | MALMO002 | C | 7
L21985 | MALMO002 | C | 8
L22026 | MALMO002 | C | 9
L22029 | MALMO002 | C | 10
L22065 | MALMO002 | C | 11
L22183 | MALMO002 | C | 12
L22539 | MALMO002 | D | 1
L22621 | MALMO002 | D | 2
L22686 | MALMO002 | D | 3
L22794 | MALMO002 | D | 4
L22809 | MALMO002 | D | 5
L22823 | MALMO002 | D | 6
L22891 | MALMO002 | D | 7
L23246 | MALMO002 | D | 8
L23608 | MALMO002 | D | 9
L23794 | MALMO002 | D | 10
L23868 | MALMO002 | D | 11
L23942 | MALMO002 | D | 12
L23945 | MALMO002 | E | 1
L23970 | MALMO002 | E | 2
L27225 | MALMO002 | E | 3
L27294 | MALMO002 | E | 4
L27353 | MALMO002 | E | 5
L27364 | MALMO002 | E | 6
L27547 | MALMO002 | E | 7
L27562 | MALMO002 | E | 8
L27626 | MALMO002 | E | 9
L27798 | MALMO002 | E | 10
L27848 | MALMO002 | E | 11
L28184 | MALMO002 | E | 12
G14232 | MALMO002 | F | 1
G14287 | MALMO002 | F | 2
G14303 | MALMO002 | F | 3
G14425 | MALMO002 | F | 4
G14503 | MALMO002 | F | 5
G14504 | MALMO002 | F | 6
G15473 | MALMO002 | F | 7
G15684 | MALMO002 | F | 8
L16313 | MALMO002 | F | 9
L22218 | MALMO002 | F | 10
L22365 | MALMO002 | F | 11
L23082 | MALMO002 | F | 12
L23499 | MALMO002 | G | 1
L23881 | MALMO002 | G | 2
890 | MALMO003 | A | 1
1835 | MALMO003 | A | 2
14293 | MALMO003 | A | 3
17267 | MALMO003 | A | 4
27323 | MALMO003 | A | 5
G00792 | MALMO003 | A | 6
G00839 | MALMO003 | A | 7
G00883 | MALMO003 | A | 8
G00964 | MALMO003 | A | 9
G00976 | MALMO003 | A | 10
G10906 | MALMO003 | A | 11
G01809 | MALMO003 | B | 1
G01810 | MALMO003 | B | 2
G01885 | MALMO003 | B | 3
G01902 | MALMO003 | B | 4
G01931 | MALMO003 | B | 5
G02132 | MALMO003 | B | 6
G02178 | MALMO003 | B | 7
G02192 | MALMO003 | B | 8
L19964 | MALMO003 | B | 9
L20170 | MALMO003 | B | 10
L20198 | MALMO003 | B | 11
G10823 | MALMO003 | C | 1
G10830 | MALMO003 | C | 2
G11117 | MALMO003 | C | 3
G11131 | MALMO003 | C | 4
G12375 | MALMO003 | C | 5
G12458 | MALMO003 | C | 6
G12592 | MALMO003 | C | 7
G12704 | MALMO003 | C | 8
G12863 | MALMO003 | C | 9
G13897 | MALMO003 | C | 10
G13983 | MALMO003 | C | 11
G14061 | MALMO003 | D | 1
G14096 | MALMO003 | D | 2
G14867 | MALMO003 | D | 3
L20530 | MALMO003 | D | 4
L20747 | MALMO003 | D | 5
L23329 | MALMO003 | D | 6
L24027 | MALMO003 | D | 7
L24447 | MALMO003 | D | 8
L24492 | MALMO003 | D | 9
L25018 | MALMO003 | D | 10
L25263 | MALMO003 | D | 11
L28295 | MALMO003 | E | 1
L29719 | MALMO003 | E | 2
L29884 | MALMO003 | E | 3
L30019 | MALMO003 | E | 4
L30029 | MALMO003 | E | 5
L30344 | MALMO003 | E | 6
G01714 | MALMO003 | E | 7
G07339 | MALMO003 | E | 8
G14029 | MALMO003 | E | 9
L27605 | MALMO003 | E | 10
6057 | MALMO003 | F | 1
6099 | MALMO003 | F | 2
9130 | MALMO003 | F | 3
9570 | MALMO003 | F | 4
9810 | MALMO003 | F | 5
9877 | MALMO003 | F | 6
9964 | MALMO003 | F | 7
9969 | MALMO003 | F | 8
10384 | MALMO003 | F | 9
10796 | MALMO003 | F | 10
11672 | MALMO003 | F | 11
22763 | MALMO003 | G | 1
20853 | MALMO003 | G | 2
2401930017 | UMEA001 | A | 1
2401940044 | UMEA001 | A | 2
2403930024 | UMEA001 | A | 3
2404930004 | UMEA001 | A | 4
2404930084 | UMEA001 | A | 5
2404950031 | UMEA001 | A | 6
2404950174 | UMEA001 | A | 7
2404960016 | UMEA001 | A | 8
2409930057 | UMEA001 | A | 9
2409940031 | UMEA001 | A | 10
2409940046 | UMEA001 | A | 11
2409950021 | UMEA001 | B | 1
2418950098 | UMEA001 | B | 2
2421920323 | UMEA001 | B | 3
2421930235 | UMEA001 | B | 4
2421930236 | UMEA001 | B | 5
2421930268 | UMEA001 | B | 6
2421960006 | UMEA001 | B | 7
2422920427 | UMEA001 | B | 8
2425930175 | UMEA001 | B | 9
2425930178 | UMEA001 | B | 10
2460920191 | UMEA001 | B | 11
2460930141 | UMEA001 | C | 1
2460930193 | UMEA001 | C | 2
2460930194 | UMEA001 | C | 3
2463920150 | UMEA001 | C | 4
2463920164 | UMEA001 | C | 5
2463930197 | UMEA001 | C | 6
2463940075 | UMEA001 | C | 7
2463940077 | UMEA001 | C | 8
2480930016 | UMEA001 | C | 9
2480931646 | UMEA001 | C | 10
2480931782 | UMEA001 | C | 11
2480932116 | UMEA001 | D | 1
2480932642 | UMEA001 | D | 2
2480950150 | UMEA001 | D | 3
2480950333 | UMEA001 | D | 4
2480950419 | UMEA001 | D | 5
2480950434 | UMEA001 | D | 6
2480950482 | UMEA001 | D | 7
2480950500 | UMEA001 | D | 8
2480951281 | UMEA001 | D | 9
2480951620 | UMEA001 | D | 10
2480952389 | UMEA001 | D | 11
2480960207 | UMEA001 | E | 1
2480960311 | UMEA001 | E | 2
2480960423 | UMEA001 | E | 3
2480960712 | UMEA001 | E | 4
2480961236 | UMEA001 | E | 5
2481920498 | UMEA001 | E | 6
2481930382 | UMEA001 | E | 7
2481960166 | UMEA001 | E | 8
2481960255 | UMEA001 | E | 9
2482921858 | UMEA001 | E | 10
2482921894 | UMEA001 | E | 11
2482921897 | UMEA001 | F | 1
2482921968 | UMEA001 | F | 2
2482921980 | UMEA001 | F | 3
2482930085 | UMEA001 | F | 4
2482930236 | UMEA001 | F | 5
2482930245 | UMEA001 | F | 6
2482930499 | UMEA001 | F | 7
2482930618 | UMEA001 | F | 8
2482930662 | UMEA001 | F | 9
2482930862 | UMEA001 | F | 10
2482930875 | UMEA001 | G | 1
2482931090 | UMEA001 | G | 2
2482931105 | UMEA001 | G | 3
2482931330 | UMEA001 | G | 4
2482931497 | UMEA001 | G | 5
2482931753 | UMEA001 | G | 6
2482931973 | UMEA001 | G | 7
2482941306 | UMEA001 | G | 8
2482941589 | UMEA001 | G | 9
2482941598 | UMEA001 | G | 10
2482950271 | UMEA001 | H | 1
2482950495 | UMEA001 | H | 2
2482950573 | UMEA001 | H | 3
2482950874 | UMEA001 | H | 4
2482951088 | UMEA001 | H | 5
2482951760 | UMEA001 | H | 6
2482960018 | UMEA001 | H | 7
2482960359 | UMEA001 | H | 8
2482960360 | UMEA001 | H | 9
2482960908 | UMEA001 | H | 10
Note on A1: The Wizard says: Name of the study written in cells A1 and A2.
Note on A3: The Wizard says: Names of samples start in cell A3.
Note on B3: The Wizard says: Plate IDs must correspond to those recorded in TaqMan files!
Note on D1: The Wizard says: These three columns (B, C and D) are necessary to record the position on the plate. The macro will read genotype data after column D.
Note on D2: The Wizard says: These three cells (B2, C2 and D2) must be filled with an "-" and not empty.
Note on E1: The Wizard says: The marker name here should be strictly the same as in your TaqMan file! If you've never used the marker, the macro will add it automatically for you in this results file.
Note on E2: The Wizard says: If you have written the marker name manually, you have to add the two alleles here. They must be the same as in your TaqMan file!
Note on G1: The Wizard says: Marker names may be added by the macro or manually.
Note on H1: The Wizard says: Do not insert empty columns. The macro will read up to the last column that has something written in line 1.

## Temp
Temporary copy of genotyping data : | [5 empty] | 0 discrepancies and 0 missing genotypes have been found
Sample | Plate Id | Position | MarkerName | operator 1 | operator 2 | Consensus
Solve Discrepancies

## Run Report
Report of Run of 21/03/2005 at 10:53:43 | [8 empty] | Observed |  |  | Expected
Operator | Plate Id | MarkerName | Path | FileName | Number Of Wells | Undertermined | NTC | Tot of samples | Homo1 | Hetero | Homo2 | Homo1 | Hetero | Homo2 | HW P Value

## Data
Data Names:
PlateFile1Path:
PlateFile2Path:
ResultsFileName :

## Copyright
This program is available, for free, in the repository:
http://bioinformatics.org/macroshack/
It’s a free software; you can redistribute it or modify it under the terms of the GNU General Public License
http://bioinformatics.org/sms/gnu_license.html
The authors have made efforts to place this source code in an information repository to permit inexpensive and convenient access for users.
The authors grant to users to use the source code for non-profit aim. Users are not allowed to sell or offer for sale any piece of the package “macroshack”.
The names of contributors to this original work may be used to endorse or promote products derived from it with express prior written permission of authors.